1. Technical requirements for the supply

It is necessary to supply new spare parts for anticorrosive rubber lining of Absorber 1&2 and 3&4 as per the attached specification of the Contracting Authority.

BILL OF QUANTITY

| № | Material | Delivery term | Unit measure | Quantity | Unit price VAT excl. | Total price VAT excl. |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | CHEMOLINE 4 CN-4mm Tip Top |  | m² | 110 |  |  |
| 2. | Cement BC 3004 Tip Top |  | Kg | 110 |  |  |
| 3. | Hardener E40 Tip Top |  | Pcs. | 120 |  |  |
| 4. | Cleaner CE Tip Top |  | Kg | 100 |  |  |
| 5. | Packing and transport /option/ |  | Pcs. | 1 |  |  |
| Total amount for delivery, Euro VAT excl. |  |  |  |  |  |  |

| № | Activity | Term of completion | Unit measure | Quantity | Unit price VAT excl. | Total price VAT excl. |
| --- | --- | --- | --- | --- | --- | --- |
| 6. | TIP TOP specialist for quality control |  | Working day | 18 /10 hours per day/ |  |  |

The period for inspection and execution of activities from Tip Top specialist is as follows:

- For Minor Repair works at Absorber 3&4	  – 08.06.  16.06.2015	   - 9 calendar days

- For Minor Repair works at Absorber 1&2	  – 19.07.  27.07.2015	   - 9 calendar days

This period and starting dates are tentative and subject to additional confirmation. The acceptance of supervisor’s work will be certified with a protocol signed by both parties in accordance with TPP CGME 3 access system report.

# 2. Protocols and reference documents

2.1. The Supplier shall prepare and handover following documentation together with the goods delivered:

1. Quality certificate from manufacturer

2. Other Quality certificates of materials used

3. Instruction of use from manufacturer

4. Warranty certificate

5. CMR or packing list

6. Acceptance-delivery protocol

2.2. The Supplier shall prepare and handover following documentation, after completion of activities:

1. Inspection Report

3. Warranties

The Supplier guarantees for the goods being supplied that the warranty period shall be not less than 12 months.