1. Technical requirements for the supply

It is necessary to supply new spare parts for turbine К-225-130-2М as per the attached specifications of the Contracting authority and drawings which form an integral part of the present technical documentation and are identical with those of the manufacturer.

SPECIFICATION

| No. | Drawing No. | Designation | Delivery term Срок на доставка | Unit pcs,set Мерна единица | Q-ty К-во | Unit price VAT excl. Ед. цена без ДДС | Total price VAT excl. Обща цена без ДДС |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Drawing N 1434987 | Diaphragm 2nd stage on HP cylinder |  | Pcs. | 1 |  |  |
| 2 | Drawing N 1434988 | Diaphragm 3rd stage on HP cylinder |  | Pcs. | 1 |  |  |
| 3 | Drawing N 1434988-01 | Diaphragm 4th stage on HP cylinder |  | Pcs. | 1 |  |  |
| 4 | Drawing N 1436985 | Sealing ring IP cylinder 20 st. |  | Pcs. | 1 |  |  |
| 5 | Drawing N 1436985-01 | Sealing ring IP cylinder 21 st. |  | Pcs. | 1 |  |  |
| 6 | Drawing N 1436987 СБ | Sealing ring IP cylinder for 20th and 21st stages |  | Pcs. | 24 |  |  |
| 7 | Drawing N 1439529СБ | Vane controller of IP cylinder |  | Set 1 |  |  |  |
| Parts to the vane controller: |  |  |  |  |  |  |  |
| 7.1 | Pos. 2 Drawing N 1221262 | Screw М20 special |  | Pcs. | 4 |  |  |
| 7.2 | Pos.3 Drawing N 1221263 | Stop pulley |  | Pcs. | 4 |  |  |
| 7.3 | Pos.4 Drawing N 1221262 | Pin (prefabrication) |  | Pcs. | 4 |  |  |
| 8 | Drawing N 1157707 | Gland ring 1157707 |  | Pcs. | 10 |  |  |
| 9 | Drawing N 1439532 | Diaphragm /14th stage/ 2nd stage of IP cylinder |  | Set | 1 |  |  |
| 10 | Drawing N 1439535 | Diaphragm /15th stage/ 3rd stage of IP cylinder |  | Set | 1 |  |  |
| 11 | Drawing N 1250800 | Balancing weight with diameter Ф 565 mm в.п 1250800 /IP rotor/ |  | Pcs. | 6 |  |  |
| 12 | Drawing N 1250801 | Balancing weight with diameter Ф 565 mm н.п 1250801 /IP rotor/ |  | Pcs. | 6 |  |  |
| 13 | Drawing N 1250865 | Balancing weight with diameter Ф 710 mm в.п 1250865 /IP rotor/ |  | Pcs. | 4 |  |  |
| 14 | Drawing N 1250866 | Balancing weight with diameter Ф 710 mm н.п 1250866 /IP rotor/ |  | Pcs. | 6 |  |  |
| 15 | Drawing N 1442274 | Balancing weight with diameter Ф 810 mm в.п 1442274 /IP rotor/ |  | Pcs. | 8 |  |  |
| 16 | Drawing N 1442275 | Balancing weight with diameter Ф 810 mm н.п 1442275 /IP rotor/ |  | Pcs. | 8 |  |  |
| 17 | 10.7821.269 | Screw М10-6gx12.14H 12.7821.269 ГОСТ 1491-80 /for IP rotor/ |  | Pcs. | 10 |  |  |
| 18 | Drawing N 1301974 | Balancing weight with diameter Ф 920 /for the low sector/ 301974/ for LP rotor/ |  | Pcs. | 4 |  |  |
| 19 | Drawing N 1371133-08 | Balancing weight 1371133-08 /for LP rotor/ |  | Pcs. | 6 |  |  |
| 20 | 1428579 | Balancing weight 428579 /for LP rotor/ |  | Pcs. | 5 |  |  |
| 21 | 1250873 | Balancing weight 1250873 |  | Pcs. | 4 |  |  |
| 22 | 1250874 | Balancing weight 1250874 |  | Pcs. | 2 |  |  |
| 23 | 1250878 | Balancing weight with diameter ф1210 1250878 |  | Pcs. | 4 |  |  |
| 24 | 12.7821.217 | Screw М8-6gx12.14H 12.7821.217 /for LP rotor/ |  | Pcs. | 9 |  |  |
| 25 |  | Twisted cord 5 x 5 /1435469; 1435470/ |  | M | 4 |  |  |
| 26 | 1440585 | Sealing ring 1440585 /for diaphragm 11 stage on IP cylinder/ |  | Pcs. | 1 |  |  |
| 27 | 1440753 | ##### Sealing ring 1440753 /for front sealing of HP cylinder/ |  | Pcs. | 12 |  |  |
| 28 | 1440754 | ##### Sealing ring 1440754 |  | Pcs. | 4 |  |  |
| 29 | Г1139658 | ##### Spring for control valve 3 and 4 stage |  | Pcs. | 8 |  |  |
| 30 | 1208493 | ##### Sleeve for banjo fitting DN 40 1208493 |  | Pcs. | 5 |  |  |
| 31 | Drawing N 1421004 | ##### Rod HP control valve 1421004 |  | Pcs. | 10 |  |  |
| 32 | Drawing N 1230735 | ##### Compression spring 1230735 |  | Pcs. | 5 |  |  |
| 33 | Drawing N 1435469СБ 1308154 | ##### Sphere Pos. 29 |  | Pcs. | 4 |  |  |
| 34 | Drawing N 1435470СБ | ##### Spherical support, upper |  | Pcs. | 2 |  |  |
| 35 | Drawing N Г-1076475 item 28, А-1152681 page 1 + Drawing N Г-1076517 item 99, А-1152681 page 2 | Worm + wormgear /a set/ for servomotor of High Pressure Automatic shut off valve |  | Pcs. | 2 |  |  |
| 36 |  | Water-jet Ejector Type ЭВ - М Water consumption 10 m³/h Pressure 2 kg/cm² / 2 bar / Creating vacuum 700 mm of mercury. |  | Pcs. | 4 |  |  |
| Total amount, Euro VAT excl. |  |  |  |  |  |  |  |

2. The Supplier shall prepare and handover the following Technical documentation together with the goods delivered:

1. Packing list

2. A declaration for conformity by the manufacturer with the listed Contracting Authority requirements

3. Quality certificate

4. Passport of goods

5. Handover certificate

The documents shall be supplied in 3 /three/ copies

3. Warranties

The Supplier guarantees for the goods being supplied as the warranty period shall be no less than 24 months.

Should it be ascertained that the defect has been caused during the transportation, the Supplier shall supply a spare part or unit, at its own expense and a new warranty period shall be introduced.