**Bill of Quantity**

**Supply of spare parts for pipelines valves and fittings type PARCOL**

**Ref. No 47-1672-15**

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Stock ST №** | **N в SAP** | **KKS /Tag** | **matr** | **Type and DN/DWG N** | **Parcol code** | **Description of the spare part** | **Description of the valve where the spare is used** | **Unit of measurement / Number** | **Quantity** | **Unit price Euro**  **VAT excl.** | **Total price Euro**  **VAT excl.** |
| 7647 | 2016303 | 10/20LAE12AA001 10/20LAE13AA001 10/20LAE41AA001 10/20LAE42AA001 | 26066-26073 | 1-6933 DN1" | 1BP10BA60143 | PACKING RING TYPE A6 IN GRAFOIL GTJ | Control valve ,,0" | Pcs | 24 |  |  |
| 6875 | 2015749 | 10/20LAE30AA001 10/20LAE60AA001 | 26086-26089 | 1-6933 DN2" | 1BP10BA70143 | PACKING RING TYPE A7 IN GRAFOIL GTJ | Control valve II left PB II right | Pcs | 24 |  |  |
|  | 2020436 | 10/20LAB60AA001 10/20LAB70AA001 | 26090-26093 | 1-6962 DN8 inch | 16962P438A00034 + 1C401BL90017 | PLUG IN AISI440C+STEM N.095 IN XM-19 | Feed water control valve II right FEED WATER CONTROL VALVE II left | Pcs. | 1 |  |  |
|  | 2020114 | 10LAB60AA001 10LAB70AA001 | 26094-26097 | 1-6962 DN8 inch | 16962P552A00RFN | CAGE ASTM A182F6NM NITRID | FEED WATER CONTROL VALVE II right FEED WATER CONTROL VALVE II left | Pcs. | 2 |  |  |
|  | 2020022 | 10LAB61AA001 10LAB71AA001 |  | 1-6962 DN3" | 16962P611A00M00 | LIMIPHON DISK STACK | FEED WATER CONTROL VALVE-3 | Pcs. | 2 |  |  |
| 7622 | 2016278 | 30LAE85AA001 | 28051 | 1-4442 DN25x80 | P02507110A00M00 | FILTER AISI 304 | Spray regulator Reduction cooling device C1 of Turbine 3 and Turbine 4 | Pcs. | 1 |  |  |
| 7683 | 2016339 | 30LBG41AA001 | 28056 | 1-6933 DN250 | 16933P142K30RFA | PLUG IN F6NM FULL STELLITED | Hot reheat control valve Turbine 3 and Turbine 4 | Pcs. | 1 |  |  |
| 7660 | 2016316 | 30LBA41AA001 |  | 1-4474 DN 8" ANSI 2500 BW x DN24 | 157001031BD1RFN | CAGE AST A182 F6 MM NITRIDED | Steam Valve5 of Turbine 3 | Pcs. | 1 |  |  |
| 7644 | 2016300 | 10/20LAB60AA001 10/20LAB70AA001 | 26090-26093 | 1-6962 DN8" | 1BP063E01149 | SEAL RING TUPE E00 IN ASTM-A439 TYPE D3 | FEED WATER CONTROL VALVE II right FEED WATER CONTROL VALVE II left | Pcs. | 12 |  |  |

***Total amount: ………………….***

***/Euro VAT excl./***

* ***Delivery terms and conditions***: …………………………………………………………………………………………………………………….
* ***Warranty terms and conditions***: ………………………………………………………………………………………………………………….
* ***Payment terms:*** within 30 days from delivery of the goods, receipt of a tax invoice, on the basis of a Certificate for quality and an acceptance-delivery protocol
* ***Validity of quotation***: ………………………………………………………………………………………………………………………………….